## Sheet1
How much attic ventilation is there now?
[5 empty] | si nfa |  | total si
| Type of vent |  | # of vents | x | of vent | = | nfa
| RV51 or box vent |  |  | x | 51 | = | 0
| Large dome or unused |  |  | x | 144 | = | 0
attic exhaust fan
| turbine - 14" |  |  | x | 110 | = | 0
| ridgevent |  |  | x | 18 | = | 0
|  |  | linear feet |  | inches/ft
| Gable vent 12" x 12" |  |  | x | 60 | = | 0
| Gable vent 12" x 18" |  |  | x | 90 | = | 0
| Soffit vents - 4" x 16" |  |  | x | 26 | = | 0
| Soffit vents - 6" x 16" |  |  | x | 45 | = | 0
| Soffit vents - 8" x 16" |  |  | x | 60 | = | 0
[5 empty] | Total vent area = |  | 0
in si
Vents are rated in square inches (si) of net free area (nfa).
Net free area is the amount of actual free space, allowing for the screens and louvers.
To convert square feet to square inches, multiply the square feet by 144 ( # of square inches in one square foot).